General
This document is under the Change Management Control Policy.
Description	This document establishes an Availability Management process and procedures for Fermilab.
Purpose	The purpose of this document is to describe the top-level Availability Management process and define the activities for each sub-process area. Four sub-process areas make up the Availability Management Process as described later in this document.
Applicable to	All processes
Supersedes	N/A
Document Owner	Availability Manager	Owner Org	Computing Sector
Effective Date	2010-09-23	Revision Date	2012-11-30

Version History
Version	Date	Author(s)	Change Summary
1.0	2010-09-21	Matt Crawford	Initial approved document
2.0	2011-12-20	Matt Crawford	Annual review & revision
2.1	2012-08-12	Rick Snider	Update procedures to reflect what we are actually doing with Availability.
3.0	2012-09-05	Tammy Whited	Review and approve changes.
3.1	2012-11-30	Jack Schmidt	Standardize KPI reports

Table of Contents
Executive Overview – Availability Management
Goal	ISO/IEC 20000 defines Availability as the ability of a component or service to perform its agreed function when required. More specifically, Availability Management has two main focuses: / Infrastructure components which are required to meet all Service Level Agreements (SLA’s) in the organization, / Infrastructure components which are required to support the organization’s Critical Business Functions. / Typically, Availability is explained as the percentage of time that a service is available compared to its agreed service time.
Benefits	Improved customer, business and user satisfaction / Cost effective management of the IT services to meet the business needs, / Reduction in the frequency and duration of the IT service failures, / A transformation from a reactive to a pro-active IT mindset / Availability management underpins service level management / IT becomes more proactive in providing support to the business.

Process Context Diagram – Availability Management
High Level Interfacing Process Flow
NOTE: This graphic illustrates the basic interactions between this process or functions and the ITIL processes at a high level and does not represent detailed dependencies.

Process Flow – Availability Management

Roles and Responsibilities – Availability Management
Roles	Responsibilities
Availability Manager	Reviews reports prior to dissemination / Reviews the reports with stakeholders / Reviews the reports with each of the groups or representatives (e.g. user groups, Business, and IT Service Management) / Communicates with Stakeholders regarding Availability (e.g. Change Management: Post Implementation Review, RFC impact on Availability, FSC, contributions to Change Advisory Board) / Reviews Availability Requirements report / Receive the request for either regularly-scheduled, or ad hoc availability design activities / Analyze current levels of availability using the Configuration Management database, and the following information: / Recommendations for updated thresholds and alarms / Recommendations for updates to the Availability Plan / RFC impact assessment / IT Service Continuity availability assessment / Recommendations for updates to the ITSCM Plan / SLA impact evaluation / Resource impact assessment / Performance Report / Availability assessment / Assessment of Availability-related Incident/Event / Percent available (IT Service and enabling Component) / Percent unavailable (IT Service and enabling Component) / Availability duration / Frequency of failure / Impact of failure / Unavailability analysis / Service Failure Analysis (SFA) / SFA Detection recommendations / SFA Reduction recommendations / SFA Avoidance recommendations / Trend analysis of the availability, reliability and maintainability of IT components / Future availability predictions / IT service and component availability and identifying unacceptable levels / Comparisons with requirements defined in SLAs to identify non-conformance / Issue prediction / Identifies and analyzes areas of possible improvement / In consultation with service providers, produces recommendations regarding the elimination of Single Point of Failure / In consultation with service providers, produces recommendations regarding the provision of alternative components to ensure minimal disruption in the event of an IT component failure / Produces recommendations regarding the elimination or minimization of the impact of planned downtime (maintenance activity, RFC implementation, etc.) / In consultation with service providers, produces recommendations regarding fault-tolerant technology / In consultation with service providers, produces recommendations regarding duplexing, full mirroring, redundancy across all aspects of the IT environment (data center, environmental (power supplies, air conditioning), enabling-components, etc.) / Produces recommendations regarding improved processes and procedures / Produces recommendations regarding Business, data and information security requirements related to confidentiality, and Services, data and hardware that must only be available to authorized personnel / Documents and reports recommendations / Approves the Availability design recommendations / Approves the Availability testing results / Convenes the Availability Plan Review session so that the proposed Availability Plan can be discussed / Establishes the Agenda for the Review session / Facilitates the Review session / Reviews the reports with stakeholders / Confirms that the attendees agree the proposed Availability Plan is acceptable in terms of content and recommendations / Determines, with the business, if the costs identified in meeting the availability requirements are justified / Approves the Review session minutes / Approves the edits to Availability Plan / Approves the recommendations that will be converted into Requests For Change (cost-justifiable counter-measures) / Formally publishes the updated Availability Plan
Availability Analyst	Determines monitoring requirements based on: / SLAs, the prime determining factor for what is monitored, where it is monitored and at what frequency it is monitored. This includes identifying monitoring that is explicitly required or implicitly indicated to fulfill SLAs. / The Availability Plan, which is reviewed for monitoring requirements, including anticipated changes, thresholds, and technology changes. It indicates what should be monitored to maintain tracking of historical data as well as new elements that will require monitoring. / Other Critical Factors, such as input from Risk Assessments, Component Failure Impact Analysis, and Service Outage Analysis, are considered in determining monitoring requirements of these availability elements. / Makes recommendations for new or amended monitoring requirements / Makes recommendations for new or amended threshold requirements / Undertakes day-to-day monitoring duties according to organizational requirements (i.e. at points and over time periods consistent with reporting of Availability Targets) as required by the Business (Critical Business Functions), users (IT Services), and to the IT Support Organization (enabling-Components). / Stores the monitored data relating to availability in the Availability Management Information System / Gathers the data necessary to undertake the required analysis / Uses organizational standard analysis techniques (which differentiates between basic events, resulting events, conditional events and trigger events) to analyze the contents of the monitoring data plus other sources of data (including Configuration information, Change History, Incidents, Problems, Availability Trending charts, SLA changes, RFCs, System generated alerts, Threshold breaches, Historical data) and compares the current performance of the IT environment to its expected performance as documented in SLAs / Identifies unacceptable availability through analysis of trends in monitoring data, Incident/Problem reports or other internal observation / Identifies when and why levels of Availability are below the agreed levels, or are approaching unacceptable levels / Generate the required Availability Management reports in agreed format. / Researches in order to understand the current requirements of business processes and activities / Researches in order to understand the current service targets and the operation of the current IT environment (infrastructure, applications, environment, data, processes, and human resources) / Receives information relating to a new or amended Business Plans or strategies, or new or amended IT Plans or strategies / Analyzes the information relating to the new or amended Business Plans or strategies, or new or amended IT Plans or strategies and cross-references the information with the Availability Management metrics, Configuration Management database, and Service Catalog to understand the differences between current and future IT Service availability requirements and their impact on the IT environment (infrastructure, applications, environment, data, processes, and human resources) / Identifies the Critical Business Processes and their associated Availability Requirements in cooperation with the Business Representative and IT Service Continuity Management / Documents the IT Service that supports each Critical Business Process / Establishes Monitoring Requirements and threshold recommendations / Documents the Business-level Availability Requirements as a result of the new or amended Business Plans or strategies, or new or amended IT Plans or strategies / Reviews the results with the Availability Manager / Publishes the Service Availability Requirements in the SLA or OLA. / Ensures all artifacts are recorded in the AMIS / Updates the RFC as necessary / Supports the Availability Manager during the review session / Notes any required Availability Plan edits to content or recommendations / Notes any required re-evaluation or re-analysis of data that is required to be undertaken / Makes necessary edits to the Availability Plan / Notes which recommendations will be converted into Requests For Change (cost-justifiable counter-measures) / Reviews the Review session minutes with the Availability Manager / Reviews the edits to Availability Plan with the Availability Manager / Reviews the recommendations that will be converted into Requests For Change with the Availability Manager / Disseminates Review session minutes / Converts approved recommendations from the Availability Plan into proposed Requests For Change in the Change Management System

Process Measurements
Key Performance Indicators	Frequency	Upper/Lower Control Limits	Objectives	Data Captures
Report IT Service Availability	Weekly		Reported in weekly operations meetings in Aailability chart, along with any incidents associated with availability breaches.	Weekly Operations Report
Availability reviews	Anually		Ensure that availability targets and plans are reviewed at least annually.	Meeting Notes recorded to Availability Internal Sharepoint site
Number of service improvements based on availability identified	Monthly		Track service improvements based on Availability requirements	Availaibilty recommendations are listed in Availability questionaires posted to Service documents in DOCDB.
Number of service improvements based on Availability recommendations implemented	Monthly		Track service improvements based on Availability requirements	Availaibilty recommendations are listed in Availability questionaires posted to Service documents in DOCDB.

Availability RACI Chart

		R - Responsible	Person responsible for getting the work done					Primary Roles in Process
		A - Accountable	Only one person can be accountable for each activity					Primary Interactions
		C - Consult	The people who are consulted and whose opinions are sought					Secondary Roles
		I - Inform		The people who are kept up-to-date on progress

					Procedures and Activities		Availability Manager	Availability Analyst		Problem Manager				Incident Manager					ITSCM Manager				Service Level Manager			Security Process Manager	Chnge, Rlse, Cap, Config, Appl, Infrast, Fin Managers				Process Owner	Customer
					Review Current Availability
					10.1.1 - Respond to Availability Event		R	R		C				C					C					A	I
					10.1.2 - Monitor		R	R		C				C					C					A	I
					10.1.3 - Analyze Data		R	R		C				C					C				C					A	C
					10.1.4 – Produce Performance Reports		A	R		C				C					C				C

					Document New Requirements
					10.2.1 - Document Business Availability Requirements		R	R					R					C	I				A	R
					10.2.2 - Document Service Availability Requirements		R	R					R				C			C	I				A
					10.2.3 - Document Component Availability Requirements		R	R					C					C	I				A

					Risk Management
					10.3.1 – Perform Risk Analysis and Management		R	R		C				C					C				C					A
					10.3.2 – Design for Availability		R	R					C				C			C	C				A
					10.3.3 – Manage Availability Testing		R	R		I				I					C					I				A	I

					Implement New Availability Requirements
					10.4.1 - Create Updates to Availability Plan		R	R		C				C					C				C			C	C				A	C
					10.4.2 - Review Updated Availability Plan		R	R		C				C					C				C			C	C				A	C
					10.4.3 - Implement Updated Availability Plan		R	R					I				A	I

Review Current Availability Flow

Review Current Availability Entry Criteria – Availability Management
Inputs	'Threshold' event / Incident Report / Problem Report / Exception Report / SLAs / Availability Plan / Risk Assessment / Component Failure Impact Analysis / Service Outage Analysis / Performance Data / Configuration information / Change information / Availability trending charts / SLA breaches / System generated alerts / Availability threshold breaches / Availability historical data / Requests For Change / Service Outage Analysis / Change Schedule / Release Schedule / Maintenance Schedule / Availability Testing Schedule / DR, BCM, and ITSCM and Testing Schedules
Entry Criteria	Performance Incident escalated by the Service Desk / Availability Problem escalated by Problem Management / Availability-related ‘threshold’ event escalated by Event Management / Service breach / Exception report
General Comments	Availability Management works closely with Incident Management and Problem Management to ensure that the duration and impact of any Incident is minimized. / Availability Management supports Incident Management by undertaking a technical analysis of Incidents via the "expanded Incident lifecycle". / Monitoring should be automated where possible and data collection needs to be across all the Configuration Items that make up the Service end-to-end so that a holistic picture of Service performance can be documented and understood. / Analysis of the data collected from the monitoring procedure (along with data provided by Incident Management) will allow for a comparison between the current performance of the IT environment and its expected performance as documented in SLAs. / The information contained in Availability Management performance reports supports the work of other ITSM processes and functions.

Review Current Availability Narrative
Step	Responsible Role	Action
10.1.1 / Respond to Availability Event	Availability Manager / Availability Analyst	Receive the request / Form part of the team that will work with technical support groups (Incident Management), and alongside Problem Management (if they have been engaged), involved in identifying the cause and finding a resolution to the Incident or Event / Work together to understand the nature of the Incident or Event / Ensure Systems Management tools detected the Event and/or Incident, and were able to assist failure diagnosis and support automated error recovery with scripted responses / Ensure diagnostic tools captured appropriate diagnostics / Ensure when breaches in OLAs or UCs occur, lessons learned are documented for input into the Availability Plan / Ensure appropriateness of recovery plans / Ensure automated recovery works as required / Ensure accuracy of recovery timing / Ensure verification procedures work to verify that a restored IT Service is working as expected / Look for opportunities to streamline procedures / Update the Incident Record with information as necessary / Update the Problem Record with information as necessary / After the Incident is resolved and the IT Service restored, if a Service Failure Analysis (SFA) is required, undertake the following action items from the SFA activities: / Select the IT Service or technology / Scope the assignment within the Terms of Reference / Plan the assignments' improvement opportunities that benefit the user. The data and documentation should be collected analyzed from the user and business perspective / Build a hypothesis / Interview key personnel
10.1.2 / Monitor	Availability Manager / Availability Analyst	(Availability Analyst) Determine monitoring requirements based on: / SLAs are the prime determining factor for what is to be monitored, where it is monitored and at what frequency it is monitored. This includes identifying monitoring explicitly required and implicitly indicated to fulfill SLAs / The Availability Plan is reviewed for monitoring requirements, including anticipated changes, thresholds, technology changes etc. It indicates what should be monitored to maintain tracking of historical data as well as new elements that will require monitoring / Other Critical Factors e.g. input from Risk Assessments, Component Failure Impact Analysis, Service Outage Analysis etc. are considered in determining monitoring requirements / Make recommendations for new/amended requirements / (Availability Analyst) Undertake day-to-day monitoring duties according to organizational requirements (i.e. at points and over time periods consistent with reporting of Availability Targets as required by the Business (Critical Business Functions), users (IT Services), and to the IT Support Organization (enabling-Components). Monitoring includes: / Network / Database / Servers / Telecoms / Internet / Desktop / Services / As a result of monitoring, data relating to availability is collected by monitoring tools and stored in the Availability Management Database / If a Service Failure Analysis (SFA) is underway, undertake the following action items from the SFA activities: / Ensure the necessary data is monitored and collected to enable subsequent analysis
10.1.3 / Analyze Data	Availability Manager / Availability Analyst	Gather the data necessary to undertake the required analysis / Use organizational standard analysis techniques to analyze the contents of the monitoring data plus other sources of data (e.g. Configuration information, Change History, Incidents, Problems, Availability Trending charts, SLA changes, RFCs, System generated alerts, Threshold breaches, Historical data) and compares the current performance of the IT environment to its expected performance as documented in SLAs / Identify unacceptable availability through analysis of trends in monitoring data, Incident/Problem reports or other internal observation / Identify when and why levels of Availability are below the agreed levels, or are approaching unacceptable levels / Publish the results of outage analysis / Suggest seminars and conferences that IT staff could attend regarding Outage Analysis / Ensure that resources and tools needed to adequately analyze outages are readily available / Ensure that outage analysis activities are measured (such as business unit satisfaction with the process) at regular intervals, and reports generated and distributed to appropriate individuals / Ensure the outage analysis process is actively monitored and corrected when the information it provides the business units and IT is not meeting expectations / Ensure that desired performance goals (such as availability) have been established and are known by all individuals involved in outage analysis / Ensure that outage analysis processes and tools are regularly reviewed and modifications are made in order to improve the process / If a Service Failure Analysis (SFA) is underway, undertake the following action items from the SFA activities, analyze data against the hypotheses list to help make early conclusions
10.1.4 / Produce Performance Reports	Availability Manager / Availability Analyst	(Availability Analyst) Generates the required Availability Management reports in agreed format. / If a Service Failure Analysis (SFA) is underway, undertake the following action items from the SFA activities: / Document findings and conclusions / Document recommendations in three categories: / Detection (enhanced reporting of key indicators to enable a proactive response) / Reduction (reduce or minimize the user impact from IT Service interruption) / Avoidance (eliminate this particular cause of IT Service interruption) / Report loss of availability occurrences and how the quantified and resource-assessed recommendations address them / Produce validation baselines and ongoing improvement comparisons / Review reports prior to dissemination / Review the reports with stakeholders / Review the reports with each of the groups or representatives (e.g. user groups, Business, and IT Service Management) / Communicate with Stakeholders regarding Availability (e.g. Change Management: Post Implementation Review, RFC impact on Availability, FSC, contribute to Change Advisory Board)

Review Current Availability Exit Criteria, Outputs
Outputs	Routine monitoring completed for defined timescale / Completed data analysis / Completed performance report
Exit Criteria	Confirmation of Availability Managements engagement / Updated Incident Record / Updated Problem Record / SFA Report / SFA Interviews / Performance Data / Recommendations for new/amended requirements

Review Current Availability Risks
Risk	Impact
Availability Management not engaged in an Incident/Event in a timely manner	Reduced opportunity for necessary technical expertise to be applied / Reduced opportunity for necessary actions to be undertaken
A SFA is not conducted when required	The opportunity to undertake organizational learning is lost / The opportunity to undertake required improvements is lost
The SFA does not interview all required parties	The opportunity to undertake organizational learning is lost / The opportunity to undertake required improvements is lost
Monitoring is not undertaken to the required level of detail	Relevant data is not collected which can lead to an inability to proactively prevent Availability- and Performance-related Incidents / Optimization opportunities are lost
Monitoring is not undertaken at the Service and component levels	A holistic picture of Service performance cannot be documented and understood
Thresholds are incorrectly set	Relevant data is not collected which can lead to an inability to proactively prevent Availability- and Performance-related Incidents / Too many or too few alarms are generated and support staff miss genuine issues
Incomplete analysis	Incomplete analysis would not allow full understanding of any performance differences between the current and expected IT environment
Inadequate cross-referencing of data and/or data sources	Incomplete analysis would not allow full understanding of any performance differences between the current and expected IT environment
Inadequate comparison of the contents of monitoring data to SLAs	Incomplete analysis would not allow full understanding of any performance differences between the current and expected IT environment
Inaccurate reports	Organization acts on inaccurate date

Document New Requirements Flow

Document New Requirements Entry Criteria – Availability Management
Inputs	Business Plan / IT Plan / Historical Availability data and information / Configuration information / SLAs, OLAs, UCs / RFC
Entry Criteria	New or amended Business Plan or strategy / New or amended IT Plan or strategy / New or amended IT Service(s) / New or amended SLA, OLA, or UC / A RFC that will cause the introduction of or amendment to an existing CI
General Comments	Availability Management needs to understand and maintain a holistic view of the Availability and Performance requirements of the total IT and business environment in terms of current operation and how they expect to operate in the future. / Availability Management therefore needs to operate at three levels: Business, Service, and Component. / Business-level Availability Management is concerned with current and future business requirements and their impact on the IT environment. This involves working with the business to understand longer-term strategic and shorter-term tactical initiatives, and translating these initiatives into IT environment requirements which in turn may generate Requests For Change.

Document New Requirements Narrative
Step	Responsible Role	Action
10.2.1 / Document Business Availability Requirements	Availability Manager / Availability Analyst / Business Representative / ITSCM	Research to understand the current requirements of business processes and activities / Research to understand the current service targets and the operation of the current IT environment (infrastructure, applications, environment, data, processes, and human resources) / Receive information relating to new or amended Business Plans or strategies, or new or amended IT Plans or strategies / Analyze the information relating to new or amended Business Plans or strategies, or new or amended IT Plans or strategies, and cross-references the information with the Availability Management metrics, Configuration Management database, and Service Catalog to understand the differences between current and future IT Service availability requirements and their impact on the IT environment (infrastructure, applications, environment, data, processes, and human resources) / Identify the Critical Business Processes and their associated Availability Requirements in conjunction with the Business Representative and IT Service Continuity Management / Document the IT Service that supports each Critical Business Process / Document the Business-level Availability Requirements as a result of the new or amended Business Plans or strategies, or new or amended IT Plans or strategies / Ensure all artifacts are recorded / The Availability Manager reviews the Business-level Availability Requirements.
10.2.2 / Document Service Availability Requirements	Availability Manager / Availability Analyst / Service Level Manager	Research to understand the current requirements of business processes and activities / Research to understand the current service targets and the operation of the current IT environment (infrastructure, applications, environment, data, processes, and human resources) / Receive information relating to a new or amended IT Service or new or amended SLA, OLA, or UC (usually via a RFC) / Analyze the information relating to the new or amended IT Service, SLA, OLA, or UC and cross-references the information with the Availability Management Information System, Configuration Management System, and Service Catalog to understand the differences between current and future IT Service requirements and their impact on the IT environment (infrastructure, applications, environment, data, processes, and human resources) / Document the amended Service-level Availability Requirements as a result of the new or amended IT Service(s), SLA, OLA, or UC / Document the definition of IT Service downtime (both partial and full) / Document the response times at which the Service is considered unavailable / Document the risk of downtime occurring / Document required service hours / Document an assessment of the relative importance of different working periods / Document Security requirements (confidentiality, integrity and availability) / Document Service backup and recovery capability / Document Access requirements / Document maintenance window requirements / Document targets for availability, reliability and maintainability and serviceability / Establish measures and reporting of availability, reliability, maintainability, and serviceability that reflect the Business and IT support organization perspectives / Ensure all artifacts are recorded / The Availability Manager approves the Service-level Availability Requirements report.
10.2.3 / Document Component Availability Requirements	Availability Manager / Availability Analyst	Research to understand the current requirements of business processes and activities / Research to understand the current service targets and the operation of the current IT environment (infrastructure, applications, environment, data, processes, and human resources) / Receive information relating to the introduction of a new or amended Configuration Item (usually via a RFC) / Analyze the information relating to the new or amended Configuration Item(s) and cross-references the information with the Availability Management metrics and Configuration Management database to understand the differences between current and future configurations and their impact on the IT environment (infrastructure, applications, environment, data, processes, and human resources) / Document the amended Service-level Availability Requirements as a result of the new or amended IT Service(s), SLA, OLA, or UC / Document the definition of component downtime (both partial and full) / Document the minimum available level of functionality of the Service / Document the response times at which the component is considered unavailable / Document the risk of downtime occurring / Document required service hours / Document Security requirements / Document component backup and recovery capability / Document Access requirements / Document maintenance window requirements / Document targets for availability, reliability and maintainability and serviceability / Establish measures and reporting of availability, reliability, maintainability, and serviceability that reflect the Business and IT support organization perspectives / Ensure all artifacts are recorded in the document repository / The Availability Manager approves the Component-level Availability Requirements report and its publication

Document New Requirements Exit Criteria, Outputs
Outputs		Availability Requirements have been documented
Exit Criteria		Availability Requirements
	Document New Requirements Risks
	Risk		Impact
	Business-level Availability Requirements are flawed		Recommendations based on Business-level Availability Requirements are flawed and changes made to the IT environment are inappropriate
	Inaccurate understanding of new Plans and/or strategies		Incomplete understanding of potential impacts on the IT environment / Incomplete recommendations to improve the IT environment
	Service-level Availability Requirements are flawed		Recommendations based on Service-level Availability Requirements are flawed and changes made to the IT environment are inappropriate
	Availability Management are not engaged in discussions regarding new or revised SLA, OLA, or UC, or new or changed IT Service		Availability considerations not fully understood / Availability requirements not implemented
	Inaccurate understanding of new or amended SLAs, OLAs, or UCs, or new or changed IT Services		Incomplete understanding of potential impacts on the IT environment / Incomplete recommendations to improve the IT environment
	Component-level Availability Requirements are flawed		Recommendations based on Component Availability Requirements are flawed and changes made to the IT environment are inappropriate
	Inaccurate understanding of the impact of the introduction of the new/amended Configuration Item		Incomplete understanding of potential impacts on the IT environment / Incomplete recommendations to improve IT environment
	Business-level Availability Requirements are flawed		Recommendations based on Business-level Availability Requirements are flawed and changes made to the IT environment are inappropriate

Execute Risk Management Flow

Execute Risk Management Entry Criteria – Availability Management
Inputs	Availability Requirements / Service Failure Analysis (SFA) / ITSCM Plan / Availability testing schedule / Availability maintenance schedule
Entry Criteria	Routine risk analysis is required to be undertaken / Routine availability design is required to be undertaken / An ad hoc request for availability design has been received / Routine availability testing is required to be undertaken / An ad hoc request for availability testing has been received / Routine availability modeling is required to be undertaken / An ad hoc request for availability modeling has been received / A request to update the availability maintenance schedule has been received
General Comments	Risk Analysis and Management is critical within IT Service provision. Risk assessment is based on the probability and potential impact of an event occurring in terms of IT Service availability, and involves the identification and assessment of the level of the risks (calculated by cross-referencing asset value, levels of threats, and vulnerabilities). Risk management involves the identification, selection and adoption of countermeasures which should be implemented wherever cost-justifiable. Risks relate not only to unavailability but to confidentiality and integrity exposures too. / When considering designing for availability to ensure that the level of availability to be provided for an IT service is at the level actually required and is cost-justified, two activities need to be considered: / Designing for availability in terms of the technical design of the IT Service (infrastructure, applications, environment, data) and the alignment of internal and external suppliers required to meet the availability requirements of the business / Designing for recovery in terms of the design (infrastructure, applications, environment, data) required to ensure that in the event of an IT Service failure, the IT Service and enabling-components can resume and enable normal business operations as quickly as possible / Availability mechanisms should be regularly tested to ensure that they work when actually needed. / The testing of recovery plans delivers data related to timings for recovery. These recovery metrics can be used to support the communication of estimated service recovery times. Availability Management should continuously seek and promote faster methods of recovery. This can be achieved via a range of methods, including automated failure detection, automated recovery, improved escalation procedures, and improved recovery tools and techniques. / Availability requirements should also help determine what spare parts to keep within Definitive Spares.

Execute Risk Management Narrative
Step	Responsible Role	Action
10.3.1 / Perform Risk Analysis & Management	Availability Manager / Availability Analyst	Undertake Single Point of Failure (SPoF) analysis / Document Single Point of Failure (SPoF) analysis recommendations / Document recommendations regarding the need to identify and document recovery options / Document recommendations regarding the need to identify and implement risk reduction measures / Analyze results of previously-conducted Service Failure Analysis (SFA) (see procedure 1.1) / Document recommendations to increase the reliability of components / Document Identified risks and countermeasures / Document Identified vulnerabilities and their levels accurately assessed / Document Identified threats and their levels accurately assessed / Review all results and recommendations
10.3.2 / Design for Availability	Availability Manager / Availability Analyst	Receive the request for either regularly-scheduled, or ad hoc availability design activities / Analyze current levels of availability / Identify and analyze areas of possible improvement / Produce recommendations regarding the elimination of SPoFs / Produce recommendations regarding Business, data and information security requirements related to availability Ability of a component or IT service to perform its required function at a stated instant or over a stated period of time. Services, data and hardware must be available at agreed times as specified in the Service Level Agreement (SLA) / Reviews the ITSCM Plan to ensure availability design criteria will provide additional resilience to prevent or minimize impact on the Business / Document and report recommendations
10.3.3 / Manage Availability Testing	Availability Manager / Availability Analyst	Receive the request / Undertake required Availability mechanism (load balancing, mirroring, grid computing etc.) test / Undertake required Availability modeling test / Undertake required Availability maintenance schedule changes / Cross-reference updated Availability maintenance schedule to SLAs / Cross-reference updated Availability maintenance schedule to OLAs / Cross-reference updated Availability maintenance schedule to UCs / Cross-reference updated Availability maintenance schedule to Change Management schedules / Cross-reference updated Availability maintenance schedule to Release and Deployment Management schedules / Cross-reference updated Availability maintenance schedule to Business plans / Cross-reference updated Availability maintenance schedule to Business schedules / Cross-reference updated Availability maintenance schedule to transition plans / Cross-reference updated Availability maintenance schedule to projects / Cross-reference updated Availability maintenance schedule to programs / Cross-reference updated Availability maintenance schedule DR, BC, and IT Service Continuity and Recovery Plans / Document Availability test results / Document Availability modeling results / Document and report recommendations to appropriate service or process owners.

Execute Risk Management Exit Criteria, Outputs
Outputs	Availability testing has been completed / Availability modeling has been completed / The Availability maintenance schedule has been updated / Availability recommendations have been documented
Exit Criteria	Identified risks and countermeasures / Identified vulnerabilities and their levels accurately assessed / Identified threats and their levels accurately assessed / Validation of the final design to meet the minimum levels of availability / Availability test results / Availability modeling results / Availability recommendations

Execute Risk Management Risks
Risk	Impact
Single Point of Failure (SPoF) analysis recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Component Failure Impact Analysis (CFIA) recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Service Failure Analysis (SFA) recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Technical Observation recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Identified risks and countermeasures are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Identified vulnerabilities and their levels are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Identified threats and their levels are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented SPoFs are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented IT Services at risk from enabling-Component failure are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented impacts of component failure on the business operation and users are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented component and people dependencies are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented component recovery timings are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Documented alternatives that are available should a CI fail are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations regarding additional resilience to prevent or minimize the impact of component failure are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations regarding the need to identify and document recovery options are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations regarding the need to identify and implement risk reduction measures are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations to increase the reliability of components are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations regarding scheduling and performing required internal component maintenance are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations regarding scheduling and managing required external component maintenance are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Recommendations based on the analysis of the impact on IT Service availability arising from component failures are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Security recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Design recommendations are flawed	Subsequent decisions are flawed and changes made to the IT environment are inappropriate
Availability testing is flawed	Decisions based on testing recommendations are flawed and changes made to the IT environment are inappropriate
Availability modeling is flawed	Decisions based on modeling recommendations are flawed and changes made to the IT environment are inappropriate

Implement New Availability Flow

Implement New Availability Entry Criteria – Availability Management
Inputs	Availability analysis recommendations from all previous procedures / Identified risks and countermeasures, vulnerabilities, threats / Availability test results / Availability modeling results / Updated Availability maintenance schedule / Business Plan(s) / IT Plan(s) / Historical Availability data and information / Configuration information / Availability Requirements / Availability Modeling Results / Availability Reports / Performance Reports / Availability Plan / Financial Plans and Budgets
Entry Criteria	Business-level Availability Requirements, Service-level Availability Requirements and Component-level Availability Requirements have been documented / Availability Management monitoring, analysis, risk analysis, deigning for availability, and availability testing activities have been undertaken
General Comments	The Availability Plan provides a holistic view (people, processes, tools) of all initiatives, both current and recommended, intended to improve availability within the organization. The Availability Plan is produced annually at predefined intervals in line with the business or budget life cycle and updates to the Availability Plan occur quarterly but can also be triggered as the result of a significant change in business needs. / The Availability Plan documents the IT resources required to support Business and IT Plans and strategies as well as the resources necessary to enable IT Service provision as documented in SLAs. It provides input into many ITSM processes and functions as it contains information on current IT Service and component availability, along with predicted future availability requirements in the form of predicted scenarios and cost estimated options related to the required resources that will enable SLAs to be met in the future.

Implement New Availability Narrative
Step	Responsible Role	Action
10.4.1 / Create Updates to Availability Plan	Availability Manager / Availability Analyst	Analyze the information, reports and recommendations derived from previous Availability Management activities in order to understand the operation of the current IT environment, the future requirements of the Business, and where opportunities for improvement lie / Evaluate elements of the previous Availability Plan for continuation, modification, or exclusion from the revised Availability Plan. / Determine Current Availability / Develop Action Plans / Develop costs and savings estimates involved to support RFC justification / Complete/update the relevant sections of the Availability Plan
10.4.2 / Review Updated Availability Plan	Availability Manager / Availability Analyst	Availability Manager / Convenes the Availability Plan Review session so that the proposed Availability Plan can be discussed / Establishes the Agenda for the Review session / Facilitates the Review session / Reviews the Availability Plan with stakeholders / Confirms that the attendees agree the proposed Availability Plan is acceptable in terms of content and recommendations / Determines, with the business, if the costs identified in meeting the availability requirements are justified / Utilizes the Availability Management Information System and Configuration Management System if necessary during the Review session / Approves the Review session minutes / Approves any edits to the Availability Plan / Approves the recommendations that will be converted into Requests For Change (cost-justifiable counter-measures) / Availability Analyst / Supports the Availability Manager during the review session / Notes any required Availability Plan edits to content or recommendations that are required / Notes any required re-evaluation or re-analysis of data that is required to be undertaken / Creates the Review session minutes / Makes necessary edits to the Availability Plan / Notes which recommendations will be converted into Requests For Change (cost-justifiable counter-measures) / Availability Manager / Reviews the edits to Availability Plan with the Review Session Attendees. / Reviews the recommendations that will be converted into Requests For Change with the Review Session Attendees. / Disseminates Review session minutes / Review Session Attendee / Participates in the Review session and reviews the proposed Availability Plan. / Either approves the content and recommendations or requests re-evaluation or re-analysis of data. / Requests edits to content or recommendations where necessary. / Confirms which recommendations are approved to be converted into Requests For Change (cost-justifiable counter-measures)
10.4.3 / Implement Updated Availability Plan	Availability Manager / Availability Analyst	Availability Analyst / Converts approved recommendations from the Availability Plan into proposed Requests For Change in the Change Management System / Creates a RFC to cover edits to the Availability Plan / Post RFC implementation, verifies whether intended improvement is actually obtained / Availability Manager / Assesses the proposed Requests For Change / Approves the Request For Change progression through the Change Management process / Formally publishes the updated Availability Plan / Note: Whether or not recommendations have been derived and turned into formal Requests For Change, the process resumes at procedure 10.1.2
Note: At this point, with the New Availability Plan developed and deployed, the data is available to allow for entry into the Continual Service Improvement Process. The process can be analyzed and opportunities for improvement identified.

Implement New Availability Exit Criteria, Outputs
Outputs	Updates have been made to the Availability Plan / Recommendations in the Availability Plan have been agreed by the Business and approved to be carried forward for implementation / Requests For Change are created and submitted to the Change Management process
Exit Criteria	Updated Availability Plan / Updated Availability Plan / Review session minutes / Request(s) For Change

Implement New Availability Risks
Risk	Impact
Recommendations are created from inaccurate data	Recommendations are flawed and changes made to the IT environment are inappropriate
Not all recommendations are included in the Availability Plan	Recommendations are flawed and changes made to the IT environment are inappropriate
Recommendation does not get turned into a RFC	Improvements to the IT environment are not undertaken

Process Integration Points – Availability Management
Process		Process	Information
Availability Management	to	Incident Management	Availability design for solutions to Incidents
Incident Management	to	Availability Management	Reports of incidents affecting Availability and related Incident data

Availability Management	to	Problem Management	Availability reports to indicate current or future Problems / Propose Solutions to Availability Problems
Problem Management	to	Availability Management	Report of availability related problems and known errors / Progress reports of Problems related to Availability Problem data

Availability Management	to	Change Management	Submit Change Requests for Change (RFCs) / Advise on CRs / Assists in identifying impact of Changes on Projected Service Availability (PSA) / Planned Service Outages for tests and preventative maintenance
Change Management	to	Availability Management	Post Implementation Review - Change impact on Availability / Change Schedule / Include Availability Management in CAB / Backed out changes / Projected Service Availability (PSA) for agreement – confirmation

Availability Management	to	Service Level Management	SLM/O/R achievement reports / Coordinate with SLM to provide proper Service Level Agreement (SLA) targets
Service Level Management	to	Availability Management	Service Level Requirements, SLA’s, Operating Level Agreements (OLA’s), Underpinning Contracts (UC’s) / Service Catalog

Availability Management	to	Capacity / Management	Availability data and metrics reporting / Resiliency requirements of availability targets
Capacity / Management	to	Availability Management	Provide Availability requirements of the Capacity Plan / Provide Capacity schedules for AM to plan and integrate effectively with Capacity Management / Details of new technology being considered

Availability Management	to	Financial Management	Details of unavailability events
Financial Management	to	Availability Management	Cost of service unavailability to include (where applicable): / Lost user and IT productivity / Lost revenue / Overtime payments / Wasted goods and materials / Imposed fines and penalties / Loss of goodwill or customers

Availability Management	to	Configuration Management	Updates to important relationship between CIs; resilience
Configuration Management	to	Availability Management	CI relationship data used to establish users affected by availability and identify viable alternatives if Availability issues arise / Details of CIs that need to be risk managed as part of Availability Plan

Availability Management	to	Release Management	Availability test schedule
Release Management	to	Availability Management	Release schedule

Availability Management	to	IT Service Continuity Management / (ITSCM)	Risk analysis and risk assessment information to ITSCM to enable a better understanding of the risks involved during different scenarios / Design criteria for new and changed services
ITSCM	to	Availability Management	Business Impact Analysis / Availability requirements of the Service Continuity plans / Service continuity and contingency plans to support the Availability management process. / Risk Management and risk analysis to Availability Management / Standby options that Availability Management needs to be aware of when developing Availability Plans

Supporting Documents
Document Name	Description	Relationship
Availability Management Business Process Requirements	Requirements	Availability Management Business Process Requirements
Service Improvement Process & Procedures	Process, Procedure	Service Improvement Process & Procedures
Change Management Process & Procedure	Process, Procedure	Change Management Process & Procedure
Availability Plan Template	Template	Availability Plan Template